Pre Ship Review Package

for the

Magnetometer Instrument (MAG)

on the

Advanced Composition Explorer (ACE)

Submitted by the

Bartol Research Institute

University of Delaware

Newark, DE 19716

April 30, 1996

Approvals:

Prepared by:		Date:

Jacques L’Heureux

ACE/MAG Instrument Manager

Bartol Research Institute

Approved by		Date:

Mario H. Acuña

ACE/MAG Instrument Scientist

Goddard Space Flight Center

Approved by		Date:

Norman F. Ness

ACE/MAG Experiment Manager

Bartol Research Institute

Approved by		Date:

Howard Eyerly

ACE Payload Performance Assurance Manager

California Institute of Technology

Table of Contents

- ACE - Experiment Review/Certification Form (ERC)

- Change Waiver No. 011

- ACE/MAG Environmental Test Plan (BRI-ACE-007 Rev. A)

- Procedure for the Vibration Testing of the ACE Magnetometer

- Procedure for the Thermal Vacuum Retest of the MFI Instrument for ACE

- ACE/MAG Integration and Test Plan (BRI-ACE-008)

- ACE/MAG Bench Acceptance Test Procedure (BRI-ACE-101 Rev. A)

- ACE/MAG Aliveness Test Procedure (BRI-ACE-102)

- ACE/MAG Limited/Comprehensive Test Procedure (BRI-ACE-103)

- ACE/MAG Observatory Level Static Magnetic Field Test Procedure (BRI-ACE-108)

- ACE/MAG Data Formats and Algorithms

- ACE/MAG Specific Instrument Interface Specification (SIIS) (JHU/APL 7345-9014 Rev. April 1996)

- Report: Electromagnetic Compatibility Test for the MFI (S/N 001) on the WIND Spacecraft (GSFC 7542-44-92)

- Report: Electromagnetic Compatibility Test for the MFI (S/N 002) on the WIND Spacecraft dated May 1992

- As Build Engineering Drawing List

- Test Log Book

- Final Comprehensive Performance Test Results

# Introduction